## Operating data
| Raw Pumping | [6 empty] | Primary Clarifiers | [5 empty] | HPO | [43 empty] | BL#1 |  | BL#2
| Flow (MLD) |  |  | Temp. | Surge well |  | Total bypass time (min) | Blanket level (cm) |  |  |  |  | TSS | SRT (d) |  |  | WAS (MLD) |  |  | Vent Purity |  |  | MLSS (mg/L) | [5 empty] | F/M |  |  | RAS SS (mg/L) |  |  | SSV (mL) |  |  | SVI |  |  | SC depth (cm) |  |  | Turbidity |  |  | 2nd. Eff. Tur. | UV dose | E-Coli (Final) | Fecal (Final) | E-Coli (UV4) | UV4 Filtered UVT (%) | Final Eff.
Date | Min | Max | Avg. |  | Min level | Max level |  | #1 | #2 | #3 | #4 | #5 |  | #1 | #2 | #3 | #1 | #2 | #3 | #1 | #2 | #3 | #1 | #1 | #2 | #2 | #3 | #3 | #1 | #2 | #3 | #1 | #2 | #3 | #1 | #2 | #3 | #1 | #2 | #3 | #1 | #2 | #3 | #1 | #2 | #3 | [6 empty] | TSS | BOD | cBOD | E-Coli Geo-mean | Fecal Geo-mean | UWL | UAL (132) | UWL | UAL (136) | TN Rem. (kg/d) | TP Load (kg/d) | TN Rem. (kg/d) | TP Load (kg/d)
2019-10-21 | 172.48 | 567.44 | 352.9 | 13.5502 | -14.4927 | -6.0336 | 619.83 | 75 | 60 | 30 | 15 | 30 | 57.3 | 2.1 | 3.16 | 3.16 | 1.2879 | 0.85245 | 0.86073 | 50.14 | 49.93 | 50.03 |  | 2668.5185 |  | 2785.1852 |  | 2525.9259 |  |  |  | 9950 | 10400 | 9400 | 220 | 200 | 220 |  |  |  | 31.5 | 22.5 | 20.625 | 2.66 | 5.18 | 6.05 | 8.48 | 40.9 | 1730 | 2050 | 90 | 56.6 | 30 | 27 | 16 | 117.1342 | 168.0186 | 70 | 90 | 45 | 70 | 1307.6504 | 24.1152 | 970.4142 | 20.8625
2019-10-22 | 148.77 | 525.44 | 341.29 | 13.0329 | -14.4778 | -7.5172 | 235.41 | 60 | 30 | 45 | 30 | 60 | 45 | 2 | 3 | 3 | 1.3243 | 0.87602 | 0.88531 | 50.15 | 50.295 | 50.02 | 3000 | 2785.1852 | 2820 | 3018.5185 | 3280 | 2681.4815 | 0.2546 | 0.20947 | 0.17748 | 10400 | 11300 | 10000 | 240 | 240 | 250 | 80 | 85.1064 | 76.2195 | 40.5 | 20.625 | 28.125 | 8.97 | 7.99 | 14.7 | 4.42 | 41.74 | 60 | 100 | 20 | 56.8 |  |  |  | 117.1342 | 168.0186 | 70 | 90 | 45 | 70 | 1327.2632 | 24.5317 | 981.3872 | 20.8785
2019-10-23 | 163.16 | 436.37 | 288.97 | 13.3767 | -14.4854 | -7.4945 | 198.91 | 60 | 75 | 60 | 60 | 45 | 52 | 2 | 3 | 3 | 1.3404 | 0.89719 | 0.90623 | 49.95 | 50.12 | 49.85 |  | 2901.8519 |  | 3200 |  | 2772.2222 |  |  |  | 10850 | 12000 | 10350 | 250 | 230 | 250 |  |  |  | 27 | 15 | 20.625 | 4.6 | 9.79 | 16.7 | 3.93 | 40 |  | 6130 |  | 57.8 | 9.6 | 12 | 5.1 | 117.1342 | 168.0186 | 70 | 90 | 45 | 70 | #N/A | #N/A | #N/A | #N/A
2019-11-27 | 88.25 | 227.89 | 172.43 | 13.0166 | -15.3694 | -10.3569 |  | 90 | 60 | 45 | 90 | 90 | 115 | 2 | 2.7 | 2.7 | 1.3546 | 0.99867 | 1.0085 | 50.14 | 50.14 | 50.21 |  | 3394.4444 |  | 3316.6667 |  | 2759.2593 |  |  |  | 12750 | 12450 | 10300 | 300 | 260 | 280 |  |  |  | 36 | 26.25 | 26.25 | 4.8 | 6.91 | 5.74 | 5.11 | 40 |  |  |  | 53 | 9.6 | 12 | 5 | 32.742 | 35.1188 | 70 | 90 | 45 | 70 | #REF! | #REF! | #REF! | #REF!
2019-11-28 | 102.53 | 236.64 | 158.43 | 13.0596 | -15.4893 | -9.3677 |  | 75 | 75 | 75 | 90 | 90 | 130 | 2 | 2.7 | 2.7 | 1.3521 | 0.99683 | 1.0065 | 49.91 | 49.935 | 50.205 | 3300 | 2940.7407 | 3260 | 2668.5185 |  | 2344.4444 | 0.25713 | 0.19126 |  | 11000 | 9950 | 8700 | 300 | 240 | 260 | 90.9091 | 73.6196 |  | 19.5 | 18.75 | 18.75 | 5.5 | 6.86 | 6.9 | 5.44 | 40 |  |  |  | 52.3 | 6.7 | 13 | 5.5 | 32.742 | 35.1188 | 70 | 90 | 45 | 70 | #REF! | #REF! | #REF! | #REF!
2019-11-29 | 103.73 | 222.51 | 157.56 | 13.231 | -13.7209 | -10.2742 |  | 60 | 60 | 60 | 90 | 90 | 92.5 | 2.25 | 3 | 3 | 1.2817 | 0.9518 | 0.96058 | 50.14 | 49.935 | 50.18 |  | 2616.6667 |  | 2655.5556 |  | 2435.1852 |  |  |  | 9750 | 9900 | 9050 | 220 | 220 | 230 |  |  |  | 18 | 15 | 15 | 4.91 | 6.62 | 5.83 | 4.11 | 40 |  |  |  | 51.1 | 10 | 11 |  | 32.742 | 35.1188 | 70 | 90 | 45 | 70 | #REF! | #REF! | #REF! | #REF!
2019-12-17 | 91.34 | 204.48 | 134.68 | 13.3878 | -13.1667 | -9.8323 |  | 90 | 75 | 75 | 105 | 105 | 240 | 2.45 | 3.1 | 3.1 | 1.1071 | 0.87473 | 0.88394 | 49.945 | 50.345 | 50.005 | 2600 | 2551.8519 | 2520 | 2500 | 2520 | 2188.8889 | 0.40355 | 0.31884 | 0.31297 | 9500 | 9300 | 8100 | 280 | 230 | 240 | 107.6923 | 91.2698 | 95.2381 | 24 | 15 | 15 | 4.35 | 7.2 | 6.9 | 5.71 | 40 |  |  |  | 47.7 | 14.4 | 19 | 7.7 | 44.4219 | 40.1578 | 70 | 90 | 45 | 70 | #REF! | #REF! | #REF! | #REF!
2019-12-18 | 87.55 | 232.35 | 141.29 | 13.2741 | -15.5044 | -7.5021 |  | 120 | 90 | 75 | 135 | 135 | 190 | 2.45 | 3.1 | 3.1 | 1.1058 | 0.8738 | 0.88327 | 49.94 | 50.14 | 50.24 |  | 2551.8519 |  | 2577.7778 |  | 2150 |  |  |  | 9500 | 9600 | 7950 | 280 | 230 | 240 |  |  |  | 28.5 | 18.75 | 15 | 4.69 | 6.8 | 9.2 | 5.89 | 40 | 90 | 40 |  | 45.5 | 10.6 | 18 | 7.6 | 55.6422 | 48.1228 | 70 | 90 | 45 | 70 | #REF! | #REF! | #REF! | #REF!
2019-12-19 | 90.93 | 203.98 | 128.42 | 13.3395 | -15.2195 | -10.4917 |  | 135 | 120 | 120 | 150 | 150 | 150 | 2.45 | 3.1 | 3.1 | 1.1055 | 0.87331 | 0.88227 | 49.94 | 49.935 | 50.125 | 2920 | 2681.4815 | 2740 | 2655.5556 | 2840 | 2214.8148 | 0.3053 | 0.25189 | 0.23505 | 10000 | 9900 | 8200 | 290 | 230 | 240 | 99.3151 | 83.9416 | 84.507 | 25.5 | 15 | 15 | 4.02 | 4.3 | 4.72 | 5.84 | 40 | 50 | 20 | 80 | 46.7 | 10.5 | 18 | 7.6 | 55.6422 | 48.1228 | 70 | 90 | 45 | 70 | #REF! | #REF! | #REF! | #REF!
2020-02-05 | 4.39 | 259.09 | 139.51 | 12.2738 | -17.0918 |  |  | 120 | 120 | 120 |  | 150 | 180 | 2.3 | 3.15 | 3.15 | 1.1662 | 0.8767 | 0.88689 | 49.915 | 49.955 | 51.005 |  | 2305.5556 |  | 2564.8148 |  | 2150 |  |  |  | 8550 | 9550 | 7950 | 260 | 240 | 250 |  |  |  | 15 | 15 | 18.75 | 11.6 | 16.5 | 17.5 | 10.8 | 45 | 50 | 80 | 80 | 44.3 | 18.5 | 26 | 8.2 | 164.7099 | 137.3906 | 70 | 90 | 45 | 70 | #REF! | #REF! | #REF! | #REF!
2020-02-06 | 59.07 | 255.71 | 135.85 | 12.2916 | -15.4956 | -10.4241 |  | 120 | 120 | 120 |  | 150 | 160 | 2.3 | 3.15 | 3.15 | 1.1668 | 0.85264 | 0.86259 | 50.285 | 50.12 | 50.21 | 2860 | 2590.7407 | 2520 | 2538.8889 | 2700 | 2266.6667 | 0.22509 | 0.193 | 0.17953 | 9650 | 9450 | 8400 | 260 | 240 | 260 | 90.9091 | 95.2381 | 96.2963 | 15 | 15 | 15 | 8.5 | 13.8 | 11.2 | 9.58 | 50 | 1080 | 640 |  | 45.8 | 18 | 26 | 7.8 | 164.7099 | 137.3906 | 70 | 90 | 45 | 70 | #REF! | #REF! | #REF! | #REF!
2020-02-07 | 61.43 | 251.32 | 129.9 | 12.6741 | -15.4968 | -10.2578 |  | 90 | 90 | 90 |  | 120 | 172 | 2.3 | 3.15 | 3.15 | 1.1686 | 0.85281 | 0.86278 | 48.76 | 53.475 | 50.245 |  | 2370.3704 |  | 2616.6667 |  | 2188.8889 |  |  |  | 8800 | 9750 | 8100 | 270 | 250 | 260 |  |  |  | 15 | 15 | 15 | 10.1 | 14.7 | 13.4 | 9.26 | 50 | 1210 | 1620 |  | 44.4 | 16.7 | 25 | 7.1 | 164.7099 | 137.3906 | 70 | 90 | 45 | 70 | #REF! | #REF! | #REF! | #REF!

## RawSewage
Time | Average Flow (MLD) | Max Flow (MLD) | TS (mg/L) | TSS (mg/L) | BOD5 (mg/L) | COD (mg/L) | sCOD (mg/L) | NH4-N (mg/L) | TP (mg/L) | TOC (mg/L) | TN (mg/L)
2019-10-21 | 352.9 | 567.44 | 1430 | 417 | 182 |  |  | 14.2 | 3.8595 | 104 | 26.5
2019-10-22 | 341.29 | 525.44 | 1370 | 336 | 167 | 420 | 102 | 15 | 3.3453 | 129.2 | 26.8
2019-10-23 | 288.97 | 436.37
2019-11-27 | 172.43 | 227.89 | 1220 | 450 | 254 |  |  | 32.3 | 9.1028 | 180.4 | 62.9
2019-11-28 | 158.43 | 236.64 | 1370 | 484 | 349 | 734 | 198 | 31.5 | 7.9013 | 207.5 | 61.8
2019-11-29 | 157.56 | 222.51 | 1320 | 356 | 278 |  |  | 29.3 | 7.741 | 155.7 | 52.1
2019-12-17 | 134.68 | 204.48 | 1450 | 620 | 358 | 834 | 229 | 39.5 | 6.8117 | 207.4 | 75.8
2019-12-18 | 141.29 | 232.35 | 1340 | 510 | 363 |  |  | 37.5 | 6.2277 | 223.9 | 73.9
2019-12-19 | 128.42 | 203.98 | 1340 | 510 | 417 | 832 | 247 | 36.1 | 5.9989 | 201.1 | 62.1
2020-02-05 | 139.51 | 259.09 | 970 | 355 | 237 |  |  | 34.8 | 6.3844 | 158.1 | 59
2020-02-06 | 135.85 | 255.71 | 1020 | 365 | 298 | 630 | 221 | 41.9 | 6.6729 | 155.4 | 60.6
2020-02-07 | 129.9 | 251.32 | 1330 | 580 | 359 |  |  | 40.9 | 8.0416 | 143.9 | 58.6

## Effluent
Values in bold are interpolated by taking the average of day before & day after.
| Time | Raw Flow (MLD) | TS (mg/L) | pH_Grab | Turbidity (NTU) | TSS (mg/L) | BOD (mg/L) | cBOD (mg/L) | sCOD (mg/L) | COD (mg/L) | NH4-N (mg/L) | NOx-N (mg/L) | PO4-P (mg/L) | TP (mg/L) | TOC (mg/L) | TN (mg/L) | Grab Flow (MLD) | Grab Temp (C) | Filtered UVT_Grab (%) | E-coli (MPN/100 mL) | Fecal (MPN/100 mL) | Cumulative 3-day pre-sampling-day precip (mm) | Mean temp (C)
| 2019-10-21 | 352.807 | 1050 | 7 | 19.9 | 30 | 27 | 16 | 29 | 66 | 6.28 | 7.26 | 1.38 | 1.741 | 23.1 | 16.7 | 421 | 14.1 | 56.8 | 1730 | 2050 |  | 6
| 2019-10-22 | 341.379 | 1065 | 7.12 | 12.235 | 10 | 9 | 4 | 25 | 51.5 | 5.905 | 7.49 | 1.29 | 1.9 | 19.8 | 16.9 | 341 | 13.4 | 56.7 | 60 | 100 | 4.6 | 2.7
| 2019-10-23 | 288.928 | 1080 | 7.04 | 4.57 | 9 | 12 | 5 | 21 | 37 | 5.53 | 7.72 | 1.46 | 1.5988 | 16.5 | 14 | 325 | 14 | 57.6 |  | 6130 |  | 2
| 2019-11-27 | 172.466 | 734 | 6.79 | 4.86 | 9 | 12 | 5 | 52 | 69 | 24.8 | 5.16 | 2.46 | 2.978 | 23 | 39.2 | 208 | 13.8 | 53.5 | 20 | 20 |  | -5
| 2019-11-28 | 158.365 | 886 | 6.81 | 4.24 | 6 | 13 | 5 | 51 | 66 | 26.3 | 5.33 | 2.62 | 3.4332 | 21.2 | 40.7 | 119 | 14.1 | 52.1 | 60 | 20 | 0 | -6.6
| 2019-11-29 | 157.631 | 868 | 6.73 | 4.39 | 10 | 11 |  | 56 | 72 | 25.6 | 5.12 | 2.21 | 3.0715 | 21.4 | 35.5 | 181 | 14.4 | 51.9 | 30 | 40 |  | -4.2
| 2019-12-17 | 134.703 | 740 | 6.85 | 6.08 | 14 | 19 | 7 | 70 | 94 | 33.3 | 3.17 | 1.42 | 1.9434 | 30.2 | 50.2 | 181 | 14 | 47.8 | 20 | 10 |  | -18.3
| 2019-12-18 | 141.306 | 818 | 6.79 | 6.28 | 10 | 18 | 7 | 68 | 94 | 34.3 | 3.28 | 1.16 | 1.6906 | 29.6 | 49.8 | 223 | 14.1 | 45.8 | 90 | 40 | 0 | -17
| 2019-12-19 | 128.444 | 766 | 6.81 | 6.27 | 10 | 18 | 7 | 68 | 91 | 32.3 | 3.05 | 0.782 | 1.3154 | 30.9 | 43.3 | 193 | 14.2 | 46.9 | 50 | 20 |  | -11
| 2020-02-05 | 139.516 | 612 | 6.83 | 11.6 | 18 | 26 | 8 | 63 | 100 | 34.7 | 2 | 1.04 | 2.049 | 32.8 | 46 | 231 | 13.1 | 45.3 | 50 | 80 |  | -10.2
| 2020-02-06 | 135.851 | 598 | 6.99 | 9.24 | 18 | 26 | 7 | 63 | 89 | 34.9 | 2.07 | 1.04 | 1.6949 | 34.4 | 50.5 | 140 | 12.7 | 46.9 | 1080 | 640 | 0 | -17.1
| 2020-02-07 | 129.869 | 644 | 6.92 | 7.73 | 16 | 25 | 7 | 58 | 99 | 39 | 2.25 | 0.999 | 1.6843 | 34.2 | 48.8 | 142 | 13 | 43.9 | 1210 | 1620 |  | -21.2
Event | Time (yyyy-mm-dd) | Raw Flow (MLD) | TS (mg/L) | Grab pH | Turbidity (NTU) | TSS (mg/L) | BOD (mg/L) | cBOD (mg/L) | sCOD (mg/L) | COD (mg/L) | NH4-N (mg/L) | NOx-N (mg/L) | PO4-P (mg/L) | TP (mg/L) | TOC (mg/L) | TN (mg/L) | Grab Flow (MLD) | Grab Temperature (°C) | Filtered UVT_Grab (%) | E-coli (MPN/mL) | Fecal (MPN/mL) | Precipitation (mm) | Mean Temperature (K)
1 | 2019-10-22 | 341.379 | 1065 | 7.12 | 12.235 | 10 | 9 | 4 | 25 | 51.5 | 5.905 | 7.49 | 1.29 | 1.9 | 19.8 | 16.9 | 341 | 13.4 | 56.7 | 0.6 | 1 | 4.6 | 275.85
2 | 2019-11-28 | 158.365 | 886 | 6.81 | 4.24 | 6 | 13 | 5 | 51 | 66 | 26.3 | 5.33 | 2.62 | 3.4332 | 21.2 | 40.7 | 119 | 14.1 | 52.1 | 0.6 | 0.2 | 0 | 266.55
3 | 2019-12-18 | 141.306 | 818 | 6.79 | 6.28 | 10 | 18 | 7 | 68 | 94 | 34.3 | 3.28 | 1.16 | 1.6906 | 29.6 | 49.8 | 223 | 14.1 | 45.8 | 0.9 | 0.4 | 0 | 256.15
4 | 2020-02-06 | 135.851 | 598 | 6.99 | 9.24 | 18 | 26 | 7 | 63 | 89 | 34.9 | 2.07 | 1.04 | 1.6949 | 34.4 | 50.5 | 140 | 12.7 | 46.9 | 10.8 | 6.4 | 0 | 256.05
Metadata - Standardized
Event | Time (yyyy-mm-dd) | log(Raw Flow (MLD)) | log(TS (mg/L)) | Grab pH | log(Turbidity (NTU)) | log(TSS (mg/L)) | log(BOD (mg/L)) | log(cBOD (mg/L)) | log(sCOD (mg/L)) | log(COD (mg/L)) | log(NH4-N (mg/L)) | log(NOx-N (mg/L)) | log(PO4-P (mg/L)) | log(TP (mg/L)) | log(TOC (mg/L)) | log(TN (mg/L)) | log(Grab Flow (MLD)) | log(Grab Temperature (C)) | log(Grab Filtered UVT (%)) | log(E. coli (MPN/mL)) | log(Fecal coliform (MPN/mL)) | Precipitation (mm) | log(Mean temperature (K))
1 | 2019-10-22 | 2.5332 | 3.0273 | 7.12 | 1.0876 | 1 | 0.95424 | 0.60206 | 1.3979 | 1.7118 | 0.77122 | 0.87448 | 0.11059 | 0.27875 | 1.2967 | 1.2279 | 2.5328 | 1.1271 | 1.7536 | -0.22185 | 0 | 4.6 | 2.4407
2 | 2019-11-28 | 2.1997 | 2.9474 | 6.81 | 0.62737 | 0.77815 | 1.1139 | 0.69897 | 1.7076 | 1.8195 | 1.42 | 0.72673 | 0.4183 | 0.5357 | 1.3263 | 1.6096 | 2.0755 | 1.1492 | 1.7168 | -0.22185 | -0.69897 | 0 | 2.4258
3 | 2019-12-18 | 2.1502 | 2.9128 | 6.79 | 0.79796 | 1 | 1.2553 | 0.8451 | 1.8325 | 1.9731 | 1.5353 | 0.51587 | 0.064458 | 0.22804 | 1.4713 | 1.6972 | 2.3483 | 1.1492 | 1.6609 | -0.045757 | -0.39794 | 0 | 2.4085
4 | 2020-02-06 | 2.1331 | 2.7767 | 6.99 | 0.96567 | 1.2553 | 1.415 | 0.8451 | 1.7993 | 1.9494 | 1.5428 | 0.31597 | 0.017033 | 0.22914 | 1.5366 | 1.7033 | 2.1461 | 1.1038 | 1.6712 | 1.0334 | 0.80618 | 0 | 2.4083
| Time | Raw Flow (MLD) | TS (mg/L) | pH_Grab | Turbidity (NTU) | TSS (mg/L) | BOD (mg/L) | cBOD (mg/L) | sCOD (mg/L) | COD (mg/L) | NH4-N (mg/L) | NOx-N (mg/L) | PO4-P (mg/L) | TP (mg/L) | TOC (mg/L) | TN (mg/L) | Grab Flow (MLD) | Grab Temp (C) | Filtered UVT_Grab (%) | E-coli | Fecal
| Event1 | 2.5332 | . | 0.85248 | . | . | 0.95424 | 0.60206 | 1.3979 | 1.7118 | 0.77122 | 0.87448 | 0.11059 | 0.27875 | 1.2967 | 1.2279 | 2.5328 | 1.1271 | 1.7536 | 1.7782 | 2
Event2
Event3
Event4
| Time | Raw Flow (MLD) | TS (mg/L) | pH_Grab | Turbidity (NTU) | TSS (mg/L) | BOD (mg/L) | cBOD (mg/L) | sCOD (mg/L) | COD (mg/L) | NH4-N (mg/L) | NOx-N (mg/L) | PO4-P (mg/L) | TP (mg/L) | TOC (mg/L) | TN (mg/L) | Grab Flow (MLD) | Grab Temp (C) | Filtered UVT_Grab (%) | E-coli | Fecal
| 2019-10-21 | 352.807 | 1050 | 7 | 19.9 | 30 | 27 | 16 | 29 | 66 | 6.28 | 7.26 | 1.38 | 1.741 | 23.1 | 16.7 | 421 | 14.1 | 56.8 | 1730 | 2050
| 2019-10-22 | 341.379 | 1065 | 7.12 | 12.235 | 19.5 | 19.5 | 10.5 | 25 | 51.5 | 5.905 | 7.49 | 1.42 | 1.6699 | 19.8 | 15.35 | 373 | 14.05 | 57.2 | 60 | 100
| 2019-10-23 | 288.928 | 1080 | 7.04 | 4.57 | 9 | 12 | 5 | 21 | 37 | 5.53 | 7.72 | 1.46 | 1.5988 | 16.5 | 14 | 325 | 14 | 57.6 | 895 | 6130
| 2019-11-27 | 172.466 | 734 | 6.79 | 4.86 | 9 | 12 | 5 | 52 | 69 | 24.8 | 5.16 | 2.46 | 2.978 | 23 | 39.2 | 208 | 13.8 | 53.5 | 20 | 20
| 2019-11-28 | 158.365 | 886 | 6.81 | 4.24 | 6 | 13 | 5 | 51 | 66 | 26.3 | 5.33 | 2.62 | 3.4332 | 21.2 | 40.7 | 119 | 14.1 | 52.1 | 60 | 20
| 2019-11-29 | 157.631 | 868 | 6.73 | 4.39 | 10 | 11 |  | 56 | 72 | 25.6 | 5.12 | 2.21 | 3.0715 | 21.4 | 35.5 | 181 | 14.4 | 51.9 | 30 | 40
| 2019-12-17 | 134.703 | 740 | 6.85 | 6.08 | 14 | 19 | 7 | 70 | 94 | 33.3 | 3.17 | 1.42 | 1.9434 | 30.2 | 50.2 | 181 | 14 | 47.8 | 20 | 10
| 2019-12-18 | 141.306 | 818 | 6.79 | 6.28 | 10 | 18 | 7 | 68 | 94 | 34.3 | 3.28 | 1.16 | 1.6906 | 29.6 | 49.8 | 223 | 14.1 | 45.8 | 90 | 40
| 2019-12-19 | 128.444 | 766 | 6.81 | 6.27 | 10 | 18 | 7 | 68 | 91 | 32.3 | 3.05 | 0.782 | 1.3154 | 30.9 | 43.3 | 193 | 14.2 | 46.9 | 50 | 20
| 2020-02-05 | 139.516 | 612 | 6.83 | 11.6 | 18 | 26 | 8 | 63 | 100 | 34.7 | 2 | 1.04 | 2.049 | 32.8 | 46 | 231 | 13.1 | 45.3 | 50 | 80
| 2020-02-06 | 135.851 | 598 | 6.99 | 9.24 | 18 | 26 | 7 | 63 | 89 | 34.9 | 2.07 | 1.04 | 1.6949 | 34.4 | 50.5 | 140 | 12.7 | 46.9 | 1080 | 640
| 2020-02-07 | 129.869 | 644 | 6.92 | 7.73 | 16 | 25 | 7 | 58 | 99 | 39 | 2.25 | 0.999 | 1.6843 | 34.2 | 48.8 | 142 | 13 | 43.9 | 1210 | 1620